Reaching Across Illinois Library System will accept sealed bids for the replacement of our network cabling at our headquarters in Burr Ridge Illinois.

- Plenum cable required.

- (168) individual runs.

- 12,600 ft estimated total length of cable.

- (8) 24 port modular keystone patch panels

- (168) Keystone jacks and faceplates

- (4) Fiber runs – fiber provided.

We will provide documentation on the runs for those interested in bidding on this project as well as accommodate those interested in doing a site survey before bidding. Most of this cabling will be above a drop ceiling. This bid should be for Cable, Keystones, Face plates, Patch panels and support rings for the cables in the ceiling, as well as work time. We would like to receive bids for both CAT6 Plenum and CAT7 Plenum for this project. Additionally, 4 Fiber runs will be needed from distribution switches to our core switches. The fiber cable will be provided and need to be ran separately with their own support rings from the CAT6/CAT7 cabling.

Sealed or electronically submitted bids are due at 125 Tower Drive, Burr Ridge Illinois 60527, Attn: IT Department no later than October 31st, 2023, at 11am CST

Sealed bids must be submitted for all the equipment and time required for the job. Incomplete bids that do not address the entirety of the list will automatically be disqualified. Bids must include costs for each line item as well as a total cost. Bid documents, information, and answers to questions may be obtained by contacting:

IT Department

125 Tower Drive

Burr Ridge IL 60527

it@railslibraries.org

Sealed bids will be opened at our Burr Ridge location on October 31st 2023 at 1pm CST. Consideration will be given to the qualified vendor with the lowest accumulative total. RAILS reserves the right to add, remove, modify, reject, or accept bids or portions thereof, at its discretion.

Vendor Name _______________________

Bid Worksheet

| Item Description | Quantity | Unit Cost | Total Cost |
| --- | --- | --- | --- |
| Cable – CAT6/CAT7 | 12,600 ft |  |  |
| Keystones and Faceplates |  |  |  |
| Support Rings |  |  |  |
| 24 Port Patch Panels | 8 |  |  |
| Work Hours |  |  |  |
| Total Cost |  |  |  |

Signature ________________________________________________________Date ______________

Agent Name		______________________________

Telephone Number	______________________________

Email			______________________________